NIU Design and Construction Standards

Division 22 1116 – Domestic Water Piping

February 2015, Draft 00

22 1116 – Domestic Water Piping

PART 1. - GENERAL

Domestic Water Inside Supply Pipe







2.5” or less - Type L copper. No-lead solder or grooved fittings.

3” or more - Ordinary duty weight galvanized steel. Flanged or grooved fittings. Stainless steel ball Isolation valves on all branches off domestic mains.

This section of the NIU Design Requirements establishes minimum requirements only.

It should not be used as a complete specification.

Domestic Water Piping Div 22 1116 Page 1 of 1